## Product Specification Sheet — Electric Butterfly™ Dual-Axis Tracking Photovoltaic System

Manufacturer: JLN Solar, Inc.
Model Name: Electric Butterfly™
Application: Dual-axis photovoltaic tracking system for utility-scale and emergency-resilient power generation

| Parameter | Specification |
| --- | --- |
| Rated Output | Approximately 11 kW |
| Number of Solar Modules | 72 modules |
| Tracking Type | Dual-axis solar tracker |
| Wind Survival Rating | Up to 140 mph (≈ 225 km/h or 63 m/s) |
| Tidal Surge / Flood Resistance | Up to 6 ft (≈ 1.83 m) |
| Seismic (Earthquake) Rating | Class 5 earthquakes |
| Other Environmental Resistances | Sand storms, grass fires |
| Control Method | Internal clock algorithm (no Internet required) |
| Structural Material | U.S. steel construction with custom-designed gearbox |
| Gearbox Weight | Approximately 3,600 lbs (≈ 1,633 kg) |
| Dimensions – Each Wing | Approximately 16 ft (W) × 18 ft (H) ≈ 4.88 m × 5.49 m |
| Total Wingspan (Diameter) | Approximately 40 ft (≈ 12.19 m) |
| Dimensions Between Wings | Approximately 4 ft (≈ 1.22 m) |
| Mast Height | Approximately 24 ft (≈7.32 m) |
| Concrete Foundation Diameter | To be determined (based on soil and site conditions) |